## Sheet1
| PE (Domestic) | 340000 | Q (L/PE/day) | 180
| PE (Commercial) | 28461 | Q (L/PE/day) | 280
Present flow rates (m3/d)
|  | Minimum | Average | Peak
Infiltration
| Commercial | 2311.0332 | 7969.08 | 15141.252
| Domestic | 17748 | 61200 | 116280
| Total | 20059.0332 | 69169.08 | 131421.252
https://discover.data.vic.gov.au/dataset/wastewater-inlet-daily-raw-water-quality-eastern-treatment-plant-etp
| Group | 10
| Growth percentage | 1.15 | %
| Life time | 20 | years
| PE (Domestic) | 427363 | Q (L/PE/day) | 180
| PE (Commercial) | 28461 | Q (L/PE/day) | 280
Present flow rates (m3/d)
|  | Minimum | Average | Peak
| Infiltration |  |  |  | DECIDE THE LIFE TIME OF THE TREATMENT PLANT.
| Commercial | 2311.0332 | 7969.08 | 15141.252
| Domestic | 22308.3486 | 76925.34 | 146158.146
| Total | 24619.3818 | 84894.42 | 161299.398